{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":18,"n_cols":9,"rows_kept":18,"cut":false,"hidden":false,"merged":[[1,0,1,8],[0,0,0,8]],"flags":["formulas_cached_only"]}
["附件3"]
["国家医疗器械抽验（标识标签说明书等项目）不符合标准规定产品名单"]
["序\n号","标示产品名称","被抽查单位","标示生产企业","规格型号","生产日期/批号/出厂编号","抽样单位","检验单位","不符合标准规定项"]
[1,"压电超声波洁牙机　","广州从化生华实业有限公司","广州从化生华实业有限公司","3H　","生产日期:2012.7.5;出厂编号:201207001　","广东省食品药品监督管理局　","湖北医疗器械质量监督检验中心","识别、标记和文件"]
[2,"超声洁牙机　","桂林维润医疗科技有限公司","桂林维润医疗科技有限公司","VRN-A8　","出厂编号:主机:A8000358; \n手柄:BAE040104　","广西壮族自治区食品药品监督管理局　","湖北医疗器械质量监督检验中心","识别、标记和文件"]
[3,"Ultrasonic Piezo Scaler","桂林懿可仕机械制造有限公司","Guilin Yikeshi Machine Co.,Ltd","SHEL-E　","生产日期:28 May.2015;出厂编号:E0001903　","广西壮族自治区食品药品监督管理局　","湖北医疗器械质量监督检验中心","识别、标记和文件"]
[4,"超声洁牙机　","咸阳西北医疗器械（集团）有限公司","咸阳西北医疗器械（集团）有限公司","US-II J　",201411031,"陕西省食品药品监督管理局　","广西壮族自治区医疗器械检测中心","识别、标记和文件"]
[5,"超声电导治疗仪　","成都康富科学仪器有限公司","成都康富科学仪器有限公司","ZCD-S1　","生产日期:20150709;出厂编号:ZCDS1 20150070　","四川省食品药品监督管理局　","湖北医疗器械质量监督检验中心","识别、标记和文件"]
[6,"微波治疗机　","南京三乐机电技术研究所有限公司","南京三乐机电技术研究所有限公司","AMT-A　","生产日期:2015.3.19;\n产品编号:150380　","江苏省食品药品监督管理局　","天津市医疗器械质量监督检验中心","设备或设备部件的外部标记"]
[7,"微波消融治疗仪　","南京维京九洲医疗器械研发中心","南京维京九洲医疗器械研发中心","MTC-3C型　","生产日期:2015 4;\n出厂编号:15041302　","江苏省食品药品监督管理局　","天津市医疗器械质量监督检验中心","1.控制器和仪表的标记；2.随机文件"]
[8,"超声波雾化器　","南京道芬电子有限公司","南京道芬电子有限公司","S-888E　","生产日期:15年5月25日;出厂编号:WHE1505006R　","江苏省食品药品监督管理局　","湖北医疗器械质量监督检验中心","识别、标记和文件"]
[9,"呼吸机　","江苏奥凯医疗设备有限公司","江苏奥凯医疗设备有限公司","AV-2000B2","H214091802　","江苏省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[10,"呼吸机　","南京普澳医疗设备有限公司","南京普澳医疗设备有限公司","PA-700B　",731504104,"江苏省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[11,"呼吸机　","江苏蓝韵凯泰医疗设备有限公司","江苏蓝韵凯泰医疗设备有限公司","HVJ-880C+　",361409005,"江苏省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[12,"呼吸机　","山东瑞得通圆医疗仪器有限公司","山东瑞得通圆医疗仪器有限公司","WDH-1　","WH150803B　","山东省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[13,"呼吸机　","深圳市普博科技有限公司","深圳市普博科技有限公司","Boaray 5000D　",20115060004,"广东省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[14,"呼吸机　","深圳市普博科技有限公司","深圳市普博科技有限公司","Boaray 3000D　",21115060004,"广东省食品药品监督管理局　","中国食品药品检定研究院","设备或设备部件的外部标记"]
[15,"呼吸机　","北京航天长峰股份有限公司","SALVIA medical GmbH & Co.KG","elisa　",52135242,"北京市食品药品监督管理局　","中国食品药品检定研究院","1.设备或设备部件的外部标记；2.控制器件和仪表的标记"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}