{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":9,"rows_kept":7,"cut":false,"hidden":false,"merged":[[1,0,1,8],[0,0,0,8]],"flags":["formulas_cached_only"]}
["附件1"]
["国家医疗器械跟踪抽验不符合标准规定产品名单"]
["序\n号","标示产品名称","被抽查单位","标示生产企业","规格型号","生产日期/批号/出厂编号","抽样单位","检验单位","不符合标准规定项"]
[1,"一次性使用输液器-带针","洪湖泰宁医疗器械有限公司","洪湖泰宁医疗器械有限公司","0.55×19/AD-B1",42102,"湖北省食品药品监督管理局","湖北医疗器械质量监督检验中心","滴斗与滴管"]
[2,"一次性使用输液器-带针","圣光医用制品有限公司","圣光医用制品有限公司","0.6×25 TWLB/A3",141212,"河南省食品药品监督管理局","中国食品药品检定研究院","注射件"]
[3,"一次性使用输液器-带针","沈阳奉达医疗器械有限公司","沈阳奉达医疗器械有限公司","0.55×18mm/A1-1",20141218,"辽宁省食品药品监督管理局","中国食品药品检定研究院","色标"]
[4,"天然胶乳橡胶避孕套","晋江市康乐乳胶用品有限公司","晋江市康乐乳胶用品有限公司","52±2mm/浮点型","15041112B","福建省食品药品监督管理局","中国食品药品检定研究院","未经老化爆破体积和压力"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}